## Slide 1: Detecting climate change using real observations, real instruments and real people – how estimating trends is sometimes the easy part
Blair Trewin
Bureau of Meteorology

## Slide 2
Global temperatures, 1950-2012
Time series of global and Australian mean temperatures

## Slide 3: What steps are there in producing time series like these?
Producing a point-based temperature time series
Converting absolute values into anomalies from a reference-period mean
Spatial analysis and aggregration into an areal average

## Slide 4
What does a temperature measurement site look like?

## Slide 5
Different instrument shelters have been used historically

## Slide 6
…and some sites aren’t as good as they should be

## Slide 7: What do we have to work with?
1930
2010

## Slide 8: How many long-term sites do we have?
Red – open; blue - closed
Number of stations
Years of record

## Slide 9: The ACORN-SAT station network
Red – stations in 2001 daily network
Black – stations added in this version
112 stations
Many records go back to 1910
More may be added in future
(once digitised)
Supersedes two existing data sets: Annual (starting 1910) and daily (starting 1957)

## Slide 10: Some things which can affect temperature data
Site moves
Changes in instruments
Changes in local site environment
Observing practice changes (e.g. observation time)

## Slide 11: How these factors can impact data
Temperature (°C)

## Slide 12: How these factors can impact data
Pre-1948 site at
Post Office –
near ocean
Post-1948 site at airport –
several km inland
Homogeneous data give us confidence that changes in the observations reflect real changes in the climate
Temperature (°C)

## Slide 13
Impact of instrument shelter changes
Stevenson screen installed
July 1901
Stevenson screen introduced progressively through 1890s and 1900s
(SA and Queensland mostly by early 1890s, Vic/NSW largely 1906-08)

## Slide 14
Site condition can make a difference
End of irrigation (c. 2007) resulted in ~1°C increase in dry-season maximum temperatures
2012
2005

## Slide 15: What do we do with inhomogeneous site data?
Inhomogeneous data – where changes in the data do not reflect changes in the background climate (in statistical terms, different parts of the sample are not drawn from the same population)
Need to identify inhomogeneities
Once inhomogeneities are found, adjust to remove them

## Slide 16: Homogenisation – how do we detect issues?
Metadata (information about the data) – e.g. station histories
Statistical testing – comparison with other sites in area
In ACORN-SAT, statistical testing used candidate station compared one-by-one with its 40 best-correlated neighbours

## Slide 17: Metadata
Digital metadata database (SitesDB) since 1997
Most pre-1997 metadata in hard copy files only
Station reports may not capture changes outside immediate vicinity of the site
Network-wide standards also relevant (e.g. observation times, manual v AWS observations)

## Slide 19: Statistical testing
Numerous techniques exist (with similar levels of performance) for detecting whether a significant breakpoint exists in a time series
Can improve signal-to-noise ratio by using difference with well-correlated and well-constructed reference series (e.g. based on nearby stations)
Difficult to detect breakpoints reliably near start or end of a time series

## Slide 20
How a reference series helps in detecting inhomogeneities
Melbourne annual
minimum temperatures
Minimum temperature
difference between
Melbourne and rural
Victoria

## Slide 21: Adjustment – why it isn’t as easy as it looks
Monthly mean maximum temperature
differences, Port Macquarie
Winter minimum temperature
differences , Port Macquarie
Temperature (°C)
Difference (°C)
Difference (°C)

## Slide 22: The adjustment process – Mackay
Site move 1959
Site move 1947
Screen change 1932
Temperature (°C)

## Slide 23
How network changes can affect a meteorological variable

## Slide 24
How network changes can affect a meteorological variable
1944: first stations available on Tasmanian Central Plateau
1960s: data become available (sometimes) from Alpine resorts, Mount Wellington
Mid 1990s: automatic stations provide consistent data from several Alpine sites

## Slide 25: How much does all of this matter?
Maximum
Minimum

## Slide 26: Some additional challenges for global data sets
Large data voids, especially in remote areas
Combining land and ocean temperatures
Only a small proportion of data are exchanged internationally
Volume of data makes station-level homogenisation difficult
Very limited access to metadata

## Slide 27
Three different views of global temperatures in March 2013
NASA
NCDC
UAH (satellite)

## Slide 28
Despite different methods of construction, global data sets produce similar results